## Description
Lab-Book
[5 empty] | Supervisor: | Johann F. Osma
Experiment Nº: | 1 |  |  |  | Researcher: | Ailin Prado Falla
Title: | Acetaminophen (APAP) cyclic voltammetry (CV) measurements for Lacase Biosensors with IoT potentiostat |  |  |  | Starting Date: | 2024-12-06
Observations
The objective of this experiment is to characterize the newly developed lacase biosensor designed for a microfluidic system potentiostat with different concentrations of APAP. This was made remotly using four syringe pumps controled with an arduino uno and an Iot controlled potentiostat.
Follow up of the experimentation
Date | Description |  |  | Stage |  | Location
2024-12-06 | Biosensor laccase 1 CV water after Aptes
2024-12-06 | Biosensor laccase 1 CV 0% Acetaminophen
2024-12-06 | Biosensor laccase 1 CV 15% Acetaminophen
2024-12-06 | Biosensor laccase 1 CV 30% Acetaminophen
2024-12-06 | Biosensor laccase 1 CV 45% Acetaminophen
2024-12-06 | Biosensor laccase 1 CV 60% Acetaminophen
Sample numbering/codification
List of Reagents and/or materials
Name of Reagent or material |  |  | Provider | Lot number |  | Approx. Quantity | Date
Lab book |  |  | Biomicrosystems |  |  | 1
IoT Potenciostat |  |  | Biomicrosystems |  |  | 1
Milli Q |  |  | Biomicrosystems |  |  | 1 ml
APAP 15% |  |  | Biomicrosystems |  |  | 1 ml
APAP 30% |  |  | Biomicrosystems |  |  | 1 ml
APAP 45% |  |  | Biomicrosystems |  |  | 1 ml
APAP 60% |  |  | Biomicrosystems |  |  | 1 ml

## IoT Biosensor
Lab-Book
[6 empty] | Supervisor: | Johann F. Osma
Experiment Nº: | 1 |  |  |  |  | Researcher: | Ailin Prado Falla
Title: | IoT CV for APAP measurement |  |  |  |  | Starting Date: | 2024-12-06
Description of the experiment
This experiment includes the CV measurement of APAP in diferent concentrations (0%, 15%, 30%, 45%, 60%) using IoT controlled syringe pumps for delibering the substances and an IoT potentiostat for the measurements.
Calculation and/or formula:
Date | APTES |  | 0% APAP |  | 15% APAP |  | 30% APAP |  | 45% APAP |  | 60% APAP |  |  | Current Filter 1 |  |  |  |  | Current Filter 2 |  |  |  |  | oxidation voltage | 0.04995
| Voltage | Current | Voltage | Current | Voltage | Current | Voltage | Current | Voltage | Current | Voltage | Current | Voltage | 0% APAP | 15% APAP | 30% APAP | 45% APAP | 60% APAP | 0% APAP | 15% APAP | 30% APAP | 45% APAP | 60% APAP
2024-12-06 | -0.00242 | -0.08619 | -0.00242 | -0.08802 | -0.00242 | -0.08639 | -0.00242 | -0.08559 | -0.00242 | -0.08382 | -0.00242 | -0.08607 | -0.00242 | -0.08802 | -0.08639 | -0.08559 | -0.08382 | -0.08607 | -0.08802 | -0.08639 | -0.08559 | -0.08382 | -0.08607 | Current | [APAP] | SD+ | SD- | Oxidation | Biosensor 1 | Biosensor 2 | Biosensor 3 | Biosensor 4 | Promedio | Oxidation | Biosensor 1 | Biosensor 2 | Biosensor 3 | Biosensor 4 | Promedio | Oxidation | Biosensor 1 | Biosensor 2 | Biosensor 3 | Biosensor 4 | Promedio | Oxidation | Biosensor 1 | Biosensor 2 | Biosensor 3 | Biosensor 4 | Promedio
2024-12-06 | 0.04753 | -0.08644 | 0.04753 | -0.08736 | 0.04753 | -0.08533 | 0.04753 | -0.08533 | 0.04753 | -0.08325 | 0.04753 | -0.08396 | 0.04753 | -0.08769 | -0.08586 | -0.08546 | -0.083535 | -0.085015 | -0.087855 | -0.086125 | -0.085525 | -0.083678 | -0.085542 | -0.08105 | 60% | 0.0019013 | 0.0019013 | 15% current | 27.6358 | 63.4806 | 17.2722 | 42.9419 | 37.8326 | 30% current | 35.4914 | 97.8378 | 10.7793 | 21.2044 | 41.3282 | 45% current | 55.3109 | 123.8209 | 24.325 | 61.463 | 66.2299 | 60% current | 55.8679 | 166.9078 | 11.5095 | 103.1321 | 84.3543
2024-12-06 | 0.09749 | -0.08657 | 0.09749 | -0.08662 | 0.09749 | -0.08481 | 0.09749 | -0.08521 | 0.09749 | -0.08336 | 0.09749 | -0.08211 | 0.09749 | -0.087333 | -0.08551 | -0.085377 | -0.083477 | -0.084047 | -0.087681 | -0.08592 | -0.085476 | -0.083611 | -0.085044 | -0.08325 | 45% | 0.0012171 | 0.0012171 | Error absoluto | 10.1968 | 25.6479 | 20.5604 | 5.1093 |  | Error absoluto | 5.8368 | 56.5096 | 30.5489 | 20.1238 |  | Error absoluto | 10.919 | 57.5909 | 41.905 | 4.7669 |  | Error absoluto | 28.4864 | 82.5535 | 72.8448 | 18.7778
2024-12-06 | 0.14744 | -0.08663 | 0.14744 | -0.08585 | 0.14744 | -0.08414 | 0.14744 | -0.08515 | 0.14744 | -0.08342 | 0.14744 | -0.08118 | 0.14744 | -0.08661 | -0.08476 | -0.08523 | -0.083343 | -0.082417 | -0.087211 | -0.085377 | -0.085356 | -0.083452 | -0.083826 | -0.08428 | 15% | 0.00062797 | 0.00062797 | SD | 3.9216 |  |  |  |  | SD | 5.3155 |  |  |  |  | SD | 5.3661 |  |  |  |  | SD | 7.118
2024-12-06 | 0.19739 | -0.08666 | 0.19739 | -0.08547 | 0.19739 | -0.08381 | 0.19739 | -0.08511 | 0.19739 | -0.08344 | 0.19739 | -0.08071 | 0.19739 | -0.08598 | -0.084253 | -0.085157 | -0.083407 | -0.081333 | -0.086641 | -0.084841 | -0.085254 | -0.083409 | -0.082599 | -0.08508 | 0% | 0.0012488 | 0.0012488
2024-12-06 | 0.24734 | -0.08628 | 0.24734 | -0.08528 | 0.24734 | -0.08364 | 0.24734 | -0.0851 | 0.24734 | -0.08386 | 0.24734 | -0.08048 | 0.24734 | -0.085533 | -0.083863 | -0.08512 | -0.083573 | -0.08079 | -0.086041 | -0.084292 | -0.085169 | -0.083441 | -0.081513
2024-12-06 | 0.29729 | -0.08649 | 0.29729 | -0.08518 | 0.29729 | -0.08356 | 0.29729 | -0.08509 | 0.29729 | -0.08407 | 0.29729 | -0.08037 | 0.29729 | -0.08531 | -0.08367 | -0.0851 | -0.08379 | -0.08052 | -0.085608 | -0.083929 | -0.085126 | -0.08359 | -0.080881
2024-12-06 | 0.34724 | -0.08619 | 0.34724 | -0.08513 | 0.34724 | -0.08351 | 0.34724 | -0.08549 | 0.34724 | -0.08417 | 0.34724 | -0.08031 | 0.34724 | -0.085197 | -0.08357 | -0.085227 | -0.084033 | -0.080387 | -0.085347 | -0.083701 | -0.085149 | -0.083799 | -0.080566
2024-12-06 | 0.39719 | -0.08604 | 0.39719 | -0.08511 | 0.39719 | -0.08349 | 0.39719 | -0.08529 | 0.39719 | -0.08423 | 0.39719 | -0.08028 | 0.39719 | -0.08514 | -0.08352 | -0.08529 | -0.084157 | -0.08032 | -0.085216 | -0.083587 | -0.085206 | -0.083993 | -0.080409
2024-12-06 | 0.44714 | -0.08637 | 0.44714 | -0.0851 | 0.44714 | -0.08388 | 0.44714 | -0.08518 | 0.44714 | -0.08425 | 0.44714 | -0.08026 | 0.44714 | -0.085113 | -0.083627 | -0.08532 | -0.084217 | -0.080283 | -0.08515 | -0.083572 | -0.085279 | -0.084136 | -0.08033
2024-12-06 | 0.49709 | -0.08653 | 0.49709 | -0.08509 | 0.49709 | -0.08408 | 0.49709 | -0.08554 | 0.49709 | -0.08426 | 0.49709 | -0.08026 | 0.49709 | -0.0851 | -0.083817 | -0.085337 | -0.084247 | -0.080267 | -0.085118 | -0.083654 | -0.085316 | -0.084207 | -0.08029 | Linear estimation |  | Slope (S) | Standard division (Sy)
2024-12-06 | 0.54705 | -0.08661 | 0.54705 | -0.08509 | 0.54705 | -0.08378 | 0.54705 | -0.08571 | 0.54705 | -0.08427 | 0.54705 | -0.08025 | 0.54705 | -0.085093 | -0.083913 | -0.085477 | -0.08426 | -0.080257 | -0.085102 | -0.083786 | -0.085378 | -0.084241 | -0.080269 | 0.00606 | -0.085233 | 0.00606 | 0.0006626
2024-12-06 | 0.597 | -0.08665 | 0.597 | -0.08508 | 0.597 | -0.08403 | 0.597 | -0.0858 | 0.597 | -0.08427 | 0.597 | -0.08025 | 0.597 | -0.085087 | -0.083963 | -0.085683 | -0.084267 | -0.080253 | -0.085093 | -0.083898 | -0.085499 | -0.084258 | -0.080259 | 0.0013969 | 0.00053421
2024-12-06 | 0.64695 | -0.08667 | 0.64695 | -0.08508 | 0.64695 | -0.08415 | 0.64695 | -0.08584 | 0.64695 | -0.08428 | 0.64695 | -0.08025 | 0.64695 | -0.085083 | -0.083987 | -0.085783 | -0.084273 | -0.08025 | -0.085088 | -0.083954 | -0.085648 | -0.084267 | -0.080253 | 0.90394 | 0.0006626
2024-12-06 | 0.6969 | -0.08668 | 0.6969 | -0.08508 | 0.6969 | -0.08421 | 0.6969 | -0.08587 | 0.6969 | -0.08428 | 0.6969 | -0.08025 | 0.6969 | -0.08508 | -0.08413 | -0.085837 | -0.084277 | -0.08025 | -0.085083 | -0.084027 | -0.085768 | -0.084272 | -0.080251 | 18.82 | 2
2024-12-06 | 0.74685 | -0.08629 | 0.74685 | -0.08508 | 0.74685 | -0.08425 | 0.74685 | -0.08588 | 0.74685 | -0.08428 | 0.74685 | -0.08025 | 0.74685 | -0.08508 | -0.084203 | -0.085863 | -0.08428 | -0.08025 | -0.085081 | -0.084107 | -0.085828 | -0.084277 | -0.08025 | 8.2628e-06 | 8.7809e-07
2024-12-06 | 0.7968 | -0.08609 | 0.7968 | -0.08508 | 0.7968 | -0.08426 | 0.7968 | -0.08548 | 0.7968 | -0.08428 | 0.7968 | -0.08025 | 0.7968 | -0.08508 | -0.08424 | -0.085743 | -0.08428 | -0.08025 | -0.08508 | -0.084191 | -0.085814 | -0.084279 | -0.08025
2024-12-06 | 0.84675 | -0.08639 | 0.84675 | -0.08508 | 0.84675 | -0.08427 | 0.84675 | -0.08528 | 0.84675 | -0.08468 | 0.84675 | -0.08065 | 0.84675 | -0.08508 | -0.08426 | -0.085547 | -0.084413 | -0.080383 | -0.08508 | -0.084234 | -0.085718 | -0.084324 | -0.080294
2024-12-06 | 0.8967 | -0.08654 | 0.8967 | -0.08508 | 0.8967 | -0.08427 | 0.8967 | -0.08559 | 0.8967 | -0.08448 | 0.8967 | -0.08045 | 0.8967 | -0.08508 | -0.084267 | -0.08545 | -0.08448 | -0.08045 | -0.08508 | -0.084256 | -0.08558 | -0.084391 | -0.080361
2024-12-06 | 0.89912 | -0.08662 | 0.89912 | -0.08508 | 0.89912 | -0.08428 | 0.89912 | -0.08574 | 0.89912 | -0.08478 | 0.89912 | -0.08075 | 0.89912 | -0.08508 | -0.084273 | -0.085537 | -0.084647 | -0.080617 | -0.08508 | -0.084267 | -0.085511 | -0.084513 | -0.080483 | LOD = 3.3(Sy/S) | 0.36082 | %
2024-12-06 | 0.84917 | -0.08666 | 0.84917 | -0.08508 | 0.84917 | -0.08428 | 0.84917 | -0.08581 | 0.84917 | -0.08493 | 0.84917 | -0.0809 | 0.84917 | -0.08508 | -0.084277 | -0.085713 | -0.08473 | -0.0807 | -0.08508 | -0.084272 | -0.085567 | -0.084619 | -0.080589 | LOQ = 10(Sy/S) | 1.0934 | %
2024-12-06 | 0.79922 | -0.08668 | 0.79922 | -0.08508 | 0.79922 | -0.08468 | 0.79922 | -0.08585 | 0.79922 | -0.08501 | 0.79922 | -0.08098 | 0.79922 | -0.08508 | -0.084413 | -0.0858 | -0.084907 | -0.080877 | -0.08508 | -0.084321 | -0.085683 | -0.084761 | -0.080731
2024-12-06 | 0.74927 | -0.08709 | 0.74927 | -0.08508 | 0.74927 | -0.08448 | 0.74927 | -0.08547 | 0.74927 | -0.08464 | 0.74927 | -0.08061 | 0.74927 | -0.08508 | -0.08448 | -0.08571 | -0.08486 | -0.08083 | -0.08508 | -0.08439 | -0.085741 | -0.084832 | -0.080802
2024-12-06 | 0.69932 | -0.08689 | 0.69932 | -0.08508 | 0.69932 | -0.08438 | 0.69932 | -0.08568 | 0.69932 | -0.08486 | 0.69932 | -0.08083 | 0.69932 | -0.08508 | -0.084513 | -0.085667 | -0.084837 | -0.080807 | -0.08508 | -0.084469 | -0.085726 | -0.084868 | -0.080838 |  | Acetaminophen (%) | Concentration
2024-12-06 | 0.64937 | -0.08679 | 0.64937 | -0.08508 | 0.64937 | -0.08433 | 0.64937 | -0.08578 | 0.64937 | -0.08497 | 0.64937 | -0.08094 | 0.64937 | -0.08508 | -0.084397 | -0.085643 | -0.084823 | -0.080793 | -0.08508 | -0.084463 | -0.085673 | -0.08484 | -0.08081 |  | 100% | 0.0030625 | g/l
2024-12-06 | 0.59941 | -0.08674 | 0.59941 | -0.08508 | 0.59941 | -0.0843 | 0.59941 | -0.08584 | 0.59941 | -0.08503 | 0.59941 | -0.081 | 0.59941 | -0.08508 | -0.084337 | -0.085767 | -0.084953 | -0.080923 | -0.08508 | -0.084416 | -0.085692 | -0.084871 | -0.080841 |  | 100% | 2.026e-05 | mol/l (M)
2024-12-06 | 0.54946 | -0.08672 | 0.54946 | -0.08508 | 0.54946 | -0.08429 | 0.54946 | -0.08586 | 0.54946 | -0.08506 | 0.54946 | -0.08103 | 0.54946 | -0.08508 | -0.084307 | -0.085827 | -0.08502 | -0.08099 | -0.08508 | -0.084347 | -0.085746 | -0.084932 | -0.080902 |  | 100% | 20.26 | uM
2024-12-06 | 0.49951 | -0.08671 | 0.49951 | -0.08508 | 0.49951 | -0.08428 | 0.49951 | -0.08547 | 0.49951 | -0.08507 | 0.49951 | -0.08104 | 0.49951 | -0.08508 | -0.08429 | -0.085723 | -0.085053 | -0.081023 | -0.08508 | -0.084311 | -0.085772 | -0.085009 | -0.080979 |  | 15% | 3.039 | uM
2024-12-06 | 0.44956 | -0.0867 | 0.44956 | -0.08508 | 0.44956 | -0.08428 | 0.44956 | -0.08568 | 0.44956 | -0.08508 | 0.44956 | -0.08105 | 0.44956 | -0.08508 | -0.084283 | -0.08567 | -0.08507 | -0.08104 | -0.08508 | -0.084293 | -0.08574 | -0.085048 | -0.081018
2024-12-06 | 0.39961 | -0.0867 | 0.39961 | -0.08508 | 0.39961 | -0.08428 | 0.39961 | -0.08578 | 0.39961 | -0.08508 | 0.39961 | -0.08105 | 0.39961 | -0.08508 | -0.08428 | -0.085643 | -0.085077 | -0.081047 | -0.08508 | -0.084284 | -0.085679 | -0.085067 | -0.081037 | LOD | 0.36082 | 7.3103 | uM
2024-12-06 | 0.34966 | -0.08629 | 0.34966 | -0.08508 | 0.34966 | -0.08428 | 0.34966 | -0.08584 | 0.34966 | -0.08508 | 0.34966 | -0.08105 | 0.34966 | -0.08508 | -0.08428 | -0.085767 | -0.08508 | -0.08105 | -0.08508 | -0.084281 | -0.085693 | -0.085076 | -0.081046 | LOQ | 1.0934 | 22.1524 | uM
2024-12-06 | 0.29971 | -0.08649 | 0.29971 | -0.08508 | 0.29971 | -0.08428 | 0.29971 | -0.08586 | 0.29971 | -0.08508 | 0.29971 | -0.08105 | 0.29971 | -0.08508 | -0.08428 | -0.085827 | -0.08508 | -0.08105 | -0.08508 | -0.08428 | -0.085746 | -0.085079 | -0.081049
2024-12-06 | 0.24976 | -0.08659 | 0.24976 | -0.08508 | 0.24976 | -0.08428 | 0.24976 | -0.08588 | 0.24976 | -0.08508 | 0.24976 | -0.08105 | 0.24976 | -0.08508 | -0.08428 | -0.08586 | -0.08508 | -0.08105 | -0.08508 | -0.08428 | -0.085818 | -0.08508 | -0.08105
2024-12-06 | 0.1998 | -0.08664 | 0.1998 | -0.08508 | 0.1998 | -0.08428 | 0.1998 | -0.08588 | 0.1998 | -0.08508 | 0.1998 | -0.08105 | 0.1998 | -0.08508 | -0.08428 | -0.085873 | -0.08508 | -0.08105 | -0.08508 | -0.08428 | -0.085853 | -0.08508 | -0.08105
2024-12-06 | 0.14985 | -0.08667 | 0.14985 | -0.08508 | 0.14985 | -0.08428 | 0.14985 | -0.08589 | 0.14985 | -0.08508 | 0.14985 | -0.08105 | 0.14985 | -0.08508 | -0.08428 | -0.085883 | -0.08508 | -0.08105 | -0.08508 | -0.08428 | -0.085872 | -0.08508 | -0.08105
2024-12-06 | 0.0999 | -0.08628 | 0.0999 | -0.08508 | 0.0999 | -0.08428 | 0.0999 | -0.08589 | 0.0999 | -0.08508 | 0.0999 | -0.08105 | 0.0999 | -0.08508 | -0.08428 | -0.085887 | -0.08508 | -0.08105 | -0.08508 | -0.08428 | -0.085881 | -0.08508 | -0.08105
2024-12-06 | 0.04995 | -0.08649 | 0.04995 | -0.08508 | 0.04995 | -0.08428 | 0.04995 | -0.08589 | 0.04995 | -0.08508 | 0.04995 | -0.08105 | 0.04995 | -0.08508 | -0.08428 | -0.08589 | -0.08508 | -0.08105 | -0.08508 | -0.08428 | -0.085887 | -0.08508 | -0.08105
2024-12-06 | 0 | -0.08659 | 0 | -0.08629 | 0 | -0.08669 | 0 | -0.08589 | 0 | -0.08508 | 0 | -0.08549 | 0 | -0.085483 | -0.085083 | -0.08589 | -0.08508 | -0.08253 | -0.085214 | -0.084548 | -0.085889 | -0.08508 | -0.081543
2024-12-06 | -0.04995 | -0.08785 | -0.04995 | -0.0877 | -0.04995 | -0.08911 | -0.04995 | -0.08589 | -0.04995 | -0.08629 | -0.04995 | -0.09012 | -0.04995 | -0.086357 | -0.086693 | -0.08589 | -0.085483 | -0.085553 | -0.08564 | -0.085352 | -0.08589 | -0.085214 | -0.083044
2024-12-06 | -0.0999 | -0.08848 | -0.0999 | -0.08881 | -0.0999 | -0.09072 | -0.0999 | -0.0871 | -0.0999 | -0.08851 | -0.0999 | -0.09364 | -0.0999 | -0.0876 | -0.08884 | -0.086293 | -0.086627 | -0.08975 | -0.08648 | -0.086872 | -0.086024 | -0.08573 | -0.085944
2024-12-06 | -0.14985 | -0.0888 | -0.14985 | -0.08977 | -0.14985 | -0.09193 | -0.14985 | -0.08851 | -0.14985 | -0.09042 | -0.14985 | -0.09621 | -0.14985 | -0.08876 | -0.090587 | -0.087167 | -0.088407 | -0.093323 | -0.087572 | -0.088707 | -0.08645 | -0.086839 | -0.089542
2024-12-06 | -0.1998 | -0.08936 | -0.1998 | -0.09065 | -0.1998 | -0.09254 | -0.1998 | -0.08961 | -0.1998 | -0.09178 | -0.1998 | -0.0979 | -0.1998 | -0.089743 | -0.09173 | -0.088407 | -0.090237 | -0.095917 | -0.088701 | -0.090386 | -0.087289 | -0.088423 | -0.092997
2024-12-06 | -0.24976 | -0.08964 | -0.24976 | -0.09109 | -0.24976 | -0.09243 | -0.24976 | -0.09017 | -0.24976 | -0.09246 | -0.24976 | -0.09874 | -0.24976 | -0.090503 | -0.0923 | -0.08943 | -0.091553 | -0.097617 | -0.089669 | -0.091539 | -0.088334 | -0.090066 | -0.095619
2024-12-06 | -0.29971 | -0.08978 | -0.29971 | -0.09131 | -0.29971 | -0.09238 | -0.29971 | -0.09085 | -0.29971 | -0.0924 | -0.29971 | -0.09916 | -0.29971 | -0.091017 | -0.09245 | -0.09021 | -0.092213 | -0.0986 | -0.090421 | -0.09216 | -0.089349 | -0.091334 | -0.097378
2024-12-06 | -0.34966 | -0.08944 | -0.34966 | -0.09142 | -0.34966 | -0.09236 | -0.34966 | -0.09079 | -0.34966 | -0.09277 | -0.34966 | -0.09897 | -0.34966 | -0.091273 | -0.09239 | -0.090603 | -0.092543 | -0.098957 | -0.090931 | -0.09238 | -0.090081 | -0.092103 | -0.098391
2024-12-06 | -0.39961 | -0.08928 | -0.39961 | -0.09147 | -0.39961 | -0.09235 | -0.39961 | -0.09075 | -0.39961 | -0.09295 | -0.39961 | -0.09888 | -0.39961 | -0.0914 | -0.092363 | -0.090797 | -0.092707 | -0.099003 | -0.09123 | -0.092401 | -0.090537 | -0.092488 | -0.098853
2024-12-06 | -0.44956 | -0.08919 | -0.44956 | -0.0915 | -0.44956 | -0.09234 | -0.44956 | -0.09074 | -0.44956 | -0.09264 | -0.44956 | -0.09842 | -0.44956 | -0.091463 | -0.09235 | -0.09076 | -0.092787 | -0.098757 | -0.091379 | -0.092368 | -0.09072 | -0.092679 | -0.098906
2024-12-06 | -0.49951 | -0.08915 | -0.49951 | -0.09151 | -0.49951 | -0.09193 | -0.49951 | -0.09073 | -0.49951 | -0.09249 | -0.49951 | -0.0986 | -0.49951 | -0.091493 | -0.092207 | -0.09074 | -0.092693 | -0.098633 | -0.091452 | -0.092307 | -0.090766 | -0.092729 | -0.098798
2024-12-06 | -0.54946 | -0.08913 | -0.54946 | -0.09152 | -0.54946 | -0.09173 | -0.54946 | -0.09073 | -0.54946 | -0.09201 | -0.54946 | -0.09829 | -0.54946 | -0.09151 | -0.092 | -0.090733 | -0.09238 | -0.098437 | -0.091489 | -0.092186 | -0.090744 | -0.09262 | -0.098609
2024-12-06 | -0.59941 | -0.08912 | -0.59941 | -0.09152 | -0.59941 | -0.09163 | -0.59941 | -0.09032 | -0.59941 | -0.09177 | -0.59941 | -0.09813 | -0.59941 | -0.091517 | -0.091763 | -0.090593 | -0.09209 | -0.09834 | -0.091507 | -0.09199 | -0.090689 | -0.092388 | -0.09847
2024-12-06 | -0.64937 | -0.08912 | -0.64937 | -0.09112 | -0.64937 | -0.09158 | -0.64937 | -0.09012 | -0.64937 | -0.09165 | -0.64937 | -0.09765 | -0.64937 | -0.091387 | -0.091647 | -0.09039 | -0.09181 | -0.098023 | -0.091471 | -0.091803 | -0.090572 | -0.092093 | -0.098267
2024-12-06 | -0.69932 | -0.08911 | -0.69932 | -0.09133 | -0.69932 | -0.09155 | -0.69932 | -0.09002 | -0.69932 | -0.09159 | -0.69932 | -0.09741 | -0.69932 | -0.091323 | -0.091587 | -0.090153 | -0.09167 | -0.09773 | -0.091409 | -0.091666 | -0.090379 | -0.091857 | -0.098031
2024-12-06 | -0.74927 | -0.08911 | -0.74927 | -0.09102 | -0.74927 | -0.09154 | -0.74927 | -0.08997 | -0.74927 | -0.09156 | -0.74927 | -0.09729 | -0.74927 | -0.091157 | -0.091557 | -0.090037 | -0.0916 | -0.09745 | -0.091289 | -0.091597 | -0.090193 | -0.091693 | -0.097734
2024-12-06 | -0.79922 | -0.08911 | -0.79922 | -0.09087 | -0.79922 | -0.09153 | -0.79922 | -0.08994 | -0.79922 | -0.09154 | -0.79922 | -0.09723 | -0.79922 | -0.091073 | -0.09154 | -0.089977 | -0.091563 | -0.09731 | -0.091184 | -0.091561 | -0.090056 | -0.091611 | -0.097497
2024-12-06 | -0.84917 | -0.08911 | -0.84917 | -0.0908 | -0.84917 | -0.09153 | -0.84917 | -0.08993 | -0.84917 | -0.09154 | -0.84917 | -0.0972 | -0.84917 | -0.090897 | -0.091533 | -0.089947 | -0.091547 | -0.09724 | -0.091042 | -0.091543 | -0.089987 | -0.09157 | -0.097333
2024-12-06 | -0.89912 | -0.08911 | -0.89912 | -0.09076 | -0.89912 | -0.09113 | -0.89912 | -0.08992 | -0.89912 | -0.09113 | -0.89912 | -0.09678 | -0.89912 | -0.09081 | -0.091397 | -0.08993 | -0.091403 | -0.09707 | -0.090927 | -0.09149 | -0.089951 | -0.091504 | -0.097207
2024-12-06 | -0.90154 | -0.08911 | -0.90154 | -0.09074 | -0.90154 | -0.09133 | -0.90154 | -0.08992 | -0.90154 | -0.09093 | -0.90154 | -0.09657 | -0.90154 | -0.090767 | -0.09133 | -0.089923 | -0.0912 | -0.09685 | -0.090824 | -0.09142 | -0.089933 | -0.091383 | -0.097053
2024-12-06 | -0.85159 | -0.08911 | -0.85159 | -0.09073 | -0.85159 | -0.09143 | -0.85159 | -0.08992 | -0.85159 | -0.09082 | -0.85159 | -0.09647 | -0.85159 | -0.090743 | -0.091297 | -0.08992 | -0.09096 | -0.096607 | -0.090773 | -0.091341 | -0.089924 | -0.091188 | -0.096842
2024-12-06 | -0.80164 | -0.08911 | -0.80164 | -0.09073 | -0.80164 | -0.09108 | -0.80164 | -0.08992 | -0.80164 | -0.09077 | -0.80164 | -0.09641 | -0.80164 | -0.090733 | -0.09128 | -0.08992 | -0.09084 | -0.096483 | -0.090748 | -0.091302 | -0.089921 | -0.091 | -0.096647
2024-12-06 | -0.75168 | -0.08911 | -0.75168 | -0.09073 | -0.75168 | -0.0913 | -0.75168 | -0.08992 | -0.75168 | -0.09075 | -0.75168 | -0.09639 | -0.75168 | -0.09073 | -0.09127 | -0.08992 | -0.09078 | -0.096423 | -0.090736 | -0.091282 | -0.08992 | -0.09086 | -0.096504
2024-12-06 | -0.70173 | -0.08911 | -0.70173 | -0.09072 | -0.70173 | -0.09142 | -0.70173 | -0.08992 | -0.70173 | -0.09074 | -0.70173 | -0.09638 | -0.70173 | -0.090727 | -0.091267 | -0.08992 | -0.090753 | -0.096393 | -0.09073 | -0.091272 | -0.08992 | -0.090791 | -0.096433
2024-12-06 | -0.65178 | -0.08911 | -0.65178 | -0.09072 | -0.65178 | -0.09147 | -0.65178 | -0.08992 | -0.65178 | -0.09073 | -0.65178 | -0.09637 | -0.65178 | -0.090723 | -0.091397 | -0.08992 | -0.09074 | -0.09638 | -0.090727 | -0.091311 | -0.08992 | -0.090758 | -0.096399
2024-12-06 | -0.60183 | -0.08911 | -0.60183 | -0.09072 | -0.60183 | -0.0915 | -0.60183 | -0.08992 | -0.60183 | -0.09073 | -0.60183 | -0.09596 | -0.60183 | -0.09072 | -0.091463 | -0.08992 | -0.090733 | -0.096237 | -0.090723 | -0.091376 | -0.08992 | -0.090742 | -0.096337
2024-12-06 | -0.55188 | -0.08911 | -0.55188 | -0.09072 | -0.55188 | -0.09151 | -0.55188 | -0.08992 | -0.55188 | -0.09072 | -0.55188 | -0.09616 | -0.55188 | -0.09072 | -0.091493 | -0.08992 | -0.090727 | -0.096163 | -0.090721 | -0.091451 | -0.08992 | -0.090733 | -0.09626
2024-12-06 | -0.50193 | -0.08911 | -0.50193 | -0.09072 | -0.50193 | -0.09152 | -0.50193 | -0.08951 | -0.50193 | -0.09072 | -0.50193 | -0.09626 | -0.50193 | -0.09072 | -0.09151 | -0.089783 | -0.090723 | -0.096127 | -0.09072 | -0.091489 | -0.089874 | -0.090728 | -0.096176
2024-12-06 | -0.45198 | -0.08911 | -0.45198 | -0.09072 | -0.45198 | -0.09152 | -0.45198 | -0.08972 | -0.45198 | -0.09072 | -0.45198 | -0.09631 | -0.45198 | -0.09072 | -0.091517 | -0.089717 | -0.09072 | -0.096243 | -0.09072 | -0.091507 | -0.089807 | -0.090723 | -0.096178
2024-12-06 | -0.40203 | -0.08911 | -0.40203 | -0.09072 | -0.40203 | -0.09112 | -0.40203 | -0.08941 | -0.40203 | -0.09072 | -0.40203 | -0.09634 | -0.40203 | -0.09072 | -0.091387 | -0.089547 | -0.09072 | -0.096303 | -0.09072 | -0.091471 | -0.089682 | -0.090721 | -0.096224
2024-12-06 | -0.35208 | -0.08911 | -0.35208 | -0.09072 | -0.35208 | -0.09092 | -0.35208 | -0.08967 | -0.35208 | -0.09072 | -0.35208 | -0.09635 | -0.35208 | -0.09072 | -0.091187 | -0.0896 | -0.09072 | -0.096333 | -0.09072 | -0.091363 | -0.089621 | -0.09072 | -0.096293
2024-12-06 | -0.30212 | -0.08911 | -0.30212 | -0.09072 | -0.30212 | -0.09123 | -0.30212 | -0.08979 | -0.30212 | -0.09072 | -0.30212 | -0.09595 | -0.30212 | -0.09072 | -0.09109 | -0.089623 | -0.09072 | -0.096213 | -0.09072 | -0.091221 | -0.08959 | -0.09072 | -0.096283
2024-12-06 | -0.25217 | -0.08911 | -0.25217 | -0.09072 | -0.25217 | -0.09138 | -0.25217 | -0.08985 | -0.25217 | -0.09072 | -0.25217 | -0.09616 | -0.25217 | -0.09072 | -0.091177 | -0.08977 | -0.09072 | -0.096153 | -0.09072 | -0.091151 | -0.089664 | -0.09072 | -0.096233
2024-12-06 | -0.20222 | -0.08871 | -0.20222 | -0.09072 | -0.20222 | -0.09145 | -0.20222 | -0.08989 | -0.20222 | -0.09072 | -0.20222 | -0.09626 | -0.20222 | -0.09072 | -0.091353 | -0.089843 | -0.09072 | -0.096123 | -0.09072 | -0.091207 | -0.089746 | -0.09072 | -0.096163
2024-12-06 | -0.15227 | -0.0881 | -0.15227 | -0.09072 | -0.15227 | -0.09149 | -0.15227 | -0.08829 | -0.15227 | -0.08871 | -0.15227 | -0.09591 | -0.15227 | -0.09072 | -0.09144 | -0.089343 | -0.09005 | -0.09611 | -0.09072 | -0.091323 | -0.089652 | -0.090497 | -0.096129
2024-12-06 | -0.10232 | -0.0874 | -0.10232 | -0.08951 | -0.10232 | -0.0895 | -0.10232 | -0.08709 | -0.10232 | -0.08649 | -0.10232 | -0.09211 | -0.10232 | -0.090317 | -0.090813 | -0.088423 | -0.08864 | -0.09476 | -0.090586 | -0.091202 | -0.089203 | -0.089803 | -0.095664
2024-12-06 | -0.05237 | -0.08705 | -0.05237 | -0.0881 | -0.05237 | -0.08769 | -0.05237 | -0.08609 | -0.05237 | -0.08498 | -0.05237 | -0.0886 | -0.05237 | -0.089443 | -0.08956 | -0.087157 | -0.086727 | -0.092207 | -0.09016 | -0.090604 | -0.088308 | -0.088472 | -0.094359
2024-12-06 | -0.00242 | -0.08647 | -0.00242 | -0.0874 | -0.00242 | -0.08639 | -0.00242 | -0.08558 | -0.00242 | -0.08382 | -0.00242 | -0.08563 | -0.00242 | -0.088337 | -0.08786 | -0.086253 | -0.085097 | -0.08878 | -0.08802 | -0.08639 | -0.08559 | -0.08382 | -0.08607